- Purpose of this Equipment:  To clean eyes, face, hands and body with a controlled spray of potable water in the event of an accidental contamination.

- Federal Supply Class:  6515

- General Operating Specifications:

  - Dimensions:

    - The length of the drench hose is to be a minimum of eight feet.

  - Salient Characteristics that shall be provided:

    - Dual stream heads with covers.

    - Stay open (no use of hands) valve assembly.

    - Hose connection reinforced PVC hose, 300 PSI maximum working pressure.

    - Supply .375 (3/8) inch iron pipe size (IPS) male thread.

    - Wall Mount Hood for the spray head.

    - Sign ANSI-compliant identification sign.

# Industry Standards / Requirement(s):

    - Industry Standards: American National Standards Institute (ANSI Standard Z358.1)

    - Warranty period shall be for (1) year from date of delivery/installation against defective material and workmanship and shall include parts, service and labor.

  - Information Technology requirements:  N / A

# Color Requirement(s):  N / A

- Electrical Requirements:  N / A

# Standard Contractor Requirements:

  - Must be shipped ready to make utility connections, mount, assemble and use.

  - Information to be provided by the Contractor to the commissary at the time of delivery:

    - Point of Contact for Service

    - Installation and Operating Instructions

    - Parts List

  - Maintenance Sustainability Requirements:  N / A

# Special Coordinating / Safety Instructions:  N / A

STORE ORDER REQUEST

STORE NAME: __________________________    DODAAC: ____________________

QUANTITY: _______