# Purpose of this Equipment: To display refrigerated dairy, delicatessen products and beverages to patrons on a commissary sales floor.

1. **Federal Supply Class:** 4110
2. **General Operating Specifications:**
	1. **Dimensions:**
		1. 1G26-2 (2 door): 50-54 inches long / wide, 34-37 inches deep, 78-82 inches high.
		2. 1G26-3 (3 door): 74-79 inches long / wide, 34- 37inches deep, 78-82 inches high.
		3. Doors to be 60 to 64 inches high.
	2. **Salient Characteristics that shall be provided:**
		1. Self-contained.
		2. Condensate dissipater pan.
		3. Bottom mounted condensing unit motor.
		4. Enamel or powder coated metal exterior and interior.
		5. Polished stainless steel or chrome molding and trim.
		6. Doors to be sealed double pane tempered glass, magnetic gaskets, and automatic door closures.
		7. Five levels of interior display: base deck level with 4 upper shelves.
		8. Minimum of 4 cantilever type adjustable epoxy coated wire shelves per door section with product shelf stops extending across the front of the shelves.
		9. One bottom wire rack per door section.
		10. Price tag molding on front edge of shelves.
		11. Fiber optic, LED or T-8 type lighting.
		12. Must maintain an average temperature between 33 degrees and 41 degrees Fahrenheit.
		13. Digital thermometer.
		14. Swivel casters for mobility.

# Industry Standards / Requirement(s):

* + 1. **Industry Standards*:*** Underwriters Laboratory (UL) listed and National Sanitation Foundation (NSF) certification, or approved equivalent. Conformité Européene (CE) is not acceptable for a standard.
		2. Must conform to Section 612 of the Clean Air Act and the EPA’s Significant New Alternatives Policy (SNAP). Chlorofluorocarbon (CFC) free, type R290 (Propane), R744 (Co2), R600a (Isobutane), R448A (N40), R449A (XP40) and R449B refrigerants are acceptable.
		3. Warranty period shall be for (1) year from date of delivery against defective material and workmanship and shall include parts, service and labor.
	1. **Information Technology requirements:** N / A

# Color Requirement(s): Black or White.

1. **Electrical Requirements:**

# 1G26-2: Standard U.S.A electrical specifications: 115 volts, 60 Hertz, 1 phase, with an average amperage draw of 20 amps. Minimum 6-foot cord with a NEMA 5-20P plug or manufacturer’s equivalent to comply with equipment requirements.

# 1G26-3: Standard U.S.A. electrical specifications: 115 volts, 60 Hertz, 1 phase, with an average amperage draw of 30 amps.

# Standard Contractor Requirements:

* 1. Must be shipped ready to plug inand use.
	2. **Information to be provided by the Contractor to the commissary at the time of delivery:**
		1. Point of Contact for Service.
		2. Installation and Operating Instructions.
		3. Parts List.
	3. **Maintenance Sustainability Requirements:** Continued parts support is required for the projected life cycle of the equipment plus 5 years.

# Special Coordinating / Safety Instructions: N / A

**STORE ORDER REQUEST**

**STORE NAME: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ DODAAC: ­­­­­­­­­­­­­­­­­­­­­­­­­­\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**QUANTITY: \_\_\_\_\_\_\_ 1G26-2\_\_\_\_\_ 1G26-3\_\_\_\_\_**

****